




Design and Modelling of simplified Boost converter for Photovoltaic system
Arjyadhara Pradhan1, Bhagabat Panda2
1,2 School of Electrical Engineering, KIIT University
	
	
	ABSTRACT

	
	
	The Photovoltaic standalone system is gaining its high importance mostly for rural application like pv water pumping, solar lighting, battery charging etc.Considering environmental effects and scarcity of fossil fuel the trend has developed towards the use of more and more renewable energy.In this paper a basic circuit of boost converter is designed in MATLAB/Simulink with constant dc source voltage. However a comparative study has also been done for the converter connected with pv system directly with the converter connected with mppt tracking technique. Perturb and Observance (P&O) algorithm is implemented for providing the necessary duty pulse and makes the system operate at maximum power point.The boost converter connected with PV system without mppt operates at any other point other then the maximum power point and hence the output voltage decreases.But with mppt the proposed system performs better and the efficiency is found to be 99.2%.

	Keyword:

Irradiance
Converter
Snubber

Knee point
Fuzzy
	
	

	
	
	

	Corresponding Author:

Arjyadhara Pradhan, 

School of Electrical Engineering,
KIIT University,
KIIT Road, Bhubneshwar, Odisha, pin 751024.
Email: aryaa.dharaa@yahoo.com


1. INTRODUCTION
The over dependence of renewable energy like coal, oil, gas causes global warming and environmental degradation which greatly affects the world population. In comparison to other renewable energy photovoltaic source is a biggest source of contribution to world electricity generation [1], [2]. Solar power can be utilized in two ways solar photovoltaics and solar thermal. Due to varying weather condition the output of the panel always varies depending on irradiance and temperature. As a result of which a constant dc voltage cannot be supplied to the load. Hence boost converters are used to boost up the variable dc voltage to fixed dc as desired by the load. But in case of ac load an additional inverter is used to convert dc voltage to ac voltage [3], [4]. The output performance of the solar cells in terms of efficiency depends on various factors like temperature, soiling, shading which reduces the performances. Hence maximum power point tracking is the solution for operating the PV system at a unique point called knee point which provides the maximum power irrespective of any weather or load conditions [5]. Various authors have suggested different types of MPPT techniques. Some are like Perturb and observance method, Incremental conductance method, constant voltage method, shortcircuit current, fuzzy logic method and ANN method [6]. Among all this methods P and O technique is simple and most widely used. The Inc method operates more successfully during the changing weather conditions but at the same time the complexity of the circuit also increases [7-10]. The other methods are also used depending on their computational time and system requirement.

For MPPT implementation a dc-dc converter is needed in the system. When the load reuirement is higher voltage we can go for either boost converter or buck-boost converter or cuk converter but simple boost converter is more efficienct due to less complex circuitry in comparison to other converters. S.Daison et al has designed a converter with a floating switch in active state which can isolate the input from the pv panel under the condition when the ac unit is in off state. This efficiency of this converter is found to be around 95.3%. However this increases the complexity in the circuit [11]. This paper represents the design of boost converter to get increased voltage.As shown in figure 1 a photovoltaic system is used to supply the step up converter and further the boost converter is connected to the load. The necessary duty pulse to the converter switch is obtained from mppt unit by using Pand O algorithm.  
[image: image1.png]SOLAR PV
SYSTEM

BOOST

CONVERTER| "

LOAD

I
MPP





Figure 1. Representation of Boost converter connected with solar pv system in block diagram
2. BOOST CONVERTER: FUNDAMENTAL PRINCIPLE
Boost converter is a highly efficient power electronic device in which the input voltage is stepped up without the use of transformer. But in the process of step-up the total power input to the system is maintained fixed to that of the output of the system which is achieved by reducing the current. The process of energy transfer is carried out by various elements like inductor, power switch, diode and filtercapacitor. The electronic switch taken here is mostly power MOSFET but studies also shows that IGBT can also be used for switching purpose. Generally for simple design circuits pulse width modulation techniques are used for switching purpose. There are two different modes of operation of Boost converter i.e Continuous conduction mode, CCM and Discontinuous conduction mode, DCM.
[image: image2.emf]
Figure 2. Basic diagram showing the working of boost converter
3. BOOST CONVERTER: OPERATION ANALYSIS
The DC-DC step up converter opearates in two modes.The basic difference in both the modes is the flow of inductor current. In the first mode the current through the inductor flows continuously where as in the second mode the current through the inductor comes to zero for an interval of time before the next  turn on of the switch ( Figure 5 and Figure 6) . Again the CCM mode operates in two ways i.e TURN ON mode (Mode 1) and TURN OFF mode (Mode 2). During mode 1 the power switch is made ON as depicted in Figure 3. As a result with the turning on of the switch the supply current input to the circuit follows a path through the inductor connected in series and the power switch. In this mode the energy gets stored in the Inductor where as the resistive load as shown in the figure 3 is supplied by the capacitor current. Mode 2 operation starts as power switch is switched OFF. In this mode as the switch is turned off no more current will flow throught this path where as the current will take the path through inductor, diode, capacitor and resistive load. Figure 4 shows the path of flow of current during turn off process. Again during this period the energy which was store in the inductor during on time gets discharged to the resistive load.Thus the voltage at the terminal is higher than the supply voltage as the name suggest step up or boost converter
[image: image3.emf]
Figure 3. Turn ON operation 
[image: image4.png]e

——

Vout




Figure 4. Turn OFF operation 
In the CCM mode the current flowing through the inductor never comes  to zero. Hence value of Inductance can be calculated by the given equation as shown below:

[image: image5.png]Lmin = [(1 —D)?*x D x Ro] = (2 x Fs)



                  (1)

In the equation 1 Lmin is the minimum value of inductance, so while calculating the value of inductance of inductor care should be taken that the value is more than the minimum value. Ro represents is the resistance of the load and Fs the switching frequency. Similarily the capacitance least allowed valuei.e. Cmin is given by the relation:
[image: image6.png]Cmin = D = (Ro x Vrf x Fs)



                                  (2)

From the equation 2 Vrf is the voltage ripple factor which is given by the expression

[image: image7.png]


                                                            (3)

[image: image8.png]| | |
On| Of |On| Off
PWM
] I ]
| | |
Vin
w
Vin - Vau
| | |
| | |
Imm/\"/’\
] ] |
Iumin | I
| I I
o KT T




Figure 5. Waveforms at Continuous conduction mode of Boost converter
[image: image9.png]E
- __ R
<]
_Z - e
s | i
°© <
B R AN
5 $
F L
= < 3 ]
= 5
g g
>




Figure 6. Waveforms at Discontinuous conduction mode of Boost converter
Figure 5 and 6 represents the waveforms of voltage and current in the operation of boost converter in CCM and DCM mode. In DCM mode from figure 6 it is clearly seen that the current through the has finite value during negative inductor voltahe but goes zero during the time period of zero inductor voltage.
4. PROPOSED SYSTEM
A basic step up dc-dc converter is designed operating in continuous state. Initially this work shows modeling of a simple boost converter with fixed dc input voltage to study the stepping up function of the converter and its various parameters calculation procedure. In the second approach the converter is given supply from the pv system without the use of constant dc source. In both the cases the duty pulses are given from PWM pulse generator. Finally the Boost converter is modeled with a pv panel as input and Maximum power point tracking system i.e Perturb and Observance method for providing the necessary duty pulse to the converter switch.
4.1. Selection of Power switch
As shown in Figure 2 the power switch considered must be having higher voltage and current rating than the input. Hence in this system the IGBT is used for switching purpose. For the design purpose the values of internal resistance taken is 1000mΩ and the snubber resistance is taken as 105 Ω.
4.2. Selection of Diode
In this system forward biased diode is considered. The various other characteristics required for the selection of diode are like fast switching, sufficient peak and average current handling capacity, less forward voltage drop [15].Thus the value of resistance of diode is set as 0.001Ω and snubber resistance as 500 Ω.
4.3. Parameter calculation
In this paper five basic parameters are calculated for the modelling of the proposed system.The data under consideration are Output voltage Vo is 164 volt, Input voltage Vin as 43 volt, Output current Io is 1 ampere, switching frequency (Fs): 25kHz, Voltage ripple factor 5% and as per IEC standard the current ripple factor must remain within 30% hence for this study it is choosen as 20%.
4.3.1. Duty Cycle (D)

[image: image10.png]


                                                              (4)

[image: image11.png]


                                                  (5)

4.3.2. Ripple Current (ΔIO)

[image: image12.png]Alo = 20% x Io = 0.2 amp



                                     (6)

4.3.3. Value of Inductor (L)

[image: image13.png]ym x4y
Fex Alo



                                                            (7)

[image: image14.png]I X075

35000 <032 = &



                                        (8)

4.3.4. Load Resistnace (Ro)

 [image: image15.png]


                                                                    (9)

[image: image16.png]M*lMah
= = 1640mm



                                                  (10)
4.3.5. Capacitance (C)

[image: image17.png]


                                              (11)
4.4. PV system and MPPT technique
The PV system is designed in such a way that 12 channels are connected in series with each six number of solar cells in series connection to give a total output voltage of 43.2 volt. The short circuit current of each solar cell is 7.34 ampere and the open circuit voltage is 0.6 volt. The solar irradiance value taken is 1000 watt/m2. The system produces a maximum voltage of 240 watt. The MPPT system uses Perturb and Observance algorithm as shown in figure 7.This methos is simple, easy to implement and low cost hence used in this system. In this approach the instantaneous values of voltage and current are recorded and then the output power is calculated. Then the operating point is perturbed by a small amount. If the power increases then it checks weather change in voltage is positive, if yes it increments the duty cycle or else it moves in the opposite direction.
[image: image18.png]M

Neaare V() 1)
Caloulate P = Vg Ik)

3

Detay P, V() by ke
ngtant Pl VIE-1)

AV = V() - Vi)

Yes

D=D+aD D=D-AD D=D-AD D=D+aD





Figure 7. Algorithm of Pand O method

5. MODELLING AND SIMULATION
The design of the proposed system is done using MATLAB using various blocks of Sim powersystems. In the below shown Fig 8 represents the simulation design of a constant dc source fed step up converter with simple resistive load. IGBT switch is used as power switch for circuit on and off process. The necessary gate pulse for triggering the circuit is provided by pwm pulse generator. In fig 9 the converter is connected to the solar system made of series connected solar cells. Fig 10 represents clearly the proposed model of the step up converter connected with pv system and the MPPT control unit.Fig 11 and 12 shows the subsystem for pv system and mppt control unit.
[image: image19.png]B





Figure 8. Model of basic converter (Boost) in Simulink
[image: image20.png]Negatve|

P ook

o

)




Figure 9. PV system connected boost converter without mppt

[image: image21.png]Discrete,
7,= 5085

oo

oy e 5

‘A—“»m I

o

Laler &

o ‘

positne

oo

Negatve|

\
= Lo —

B [

o ]
o Series RCBRCH Bvage Mezsurg ]|
FVBC ToD! ’5 B

|





Figure 10. Proposed model in Simulink
[image: image22.png]1000 |

Pos|
neg

Sobmystem

RS-

CurantSensor

4

Votage ser
>

Vsl Resitor

L1

B

VaryigR

s 5|

PSSrmuink
Comenzt

PSSrmuink

Negatice




Figure 11. Subsystem of pv panel

[image: image23.png]4’%’ &





Figure 12. Simulink model of the MPPT system using Pand O technique
6. RESULTS AND ANALYSIS

The analysis has been carried out to verify the operation of boost converter with the parameters calculated as above and compare the performance of the proposed system i.e the converter with the controlled pulses (mppt) and that the system without mppt. Figure 13 shows the output voltage waveform of the simulation as shown in figure 8 for resistive load. With the calculated parameters of the Inductor, capacitor, load resistance and appropriate choice of voltage and current ripple factor it is found that the output voltage across the resistive load is 164 volt with fixed dc input voltage taken as 43 volt. Hence the designed step up converter steps up the dc voltage.
[image: image24.png]



Figure 13. Output voltage waveform of simple boost converter
[image: image25.png][capacitor current

lcapacitor voltage 4

input voltage





Figure 14. Waveforms of capacitor current, voltage across capacitor and input voltage for the simulation as shown in figure 8.
[image: image26.png]PV CURVE

10

X Axis.





Figure 15. PV curve for the modeled PV system.

[image: image27.png]IV CURVE

10

B

Sy A

10

X Axis




Figure 15. IV curve for the pv system.
[image: image28.png]



Figure 16. Output voltage waveform of converter as shown in figure 9.
[image: image29.png]



Figure 17. Output voltage waveform of the proposed model as represented in figure 10
[image: image30.png]



Figure 18. Duty pulses generated using P and O technique
Figure 14 shows the capacitor voltage, capacitor current, fixed dc input voltage and compares the nature of the waveform with that of figure 5 shown for continuous conduction mode. Figure 15 and 16 shows the pv and iv curve of the photovoltaic module designed considering 72 solar cells in series.Figure 16 shows the output voltage of the converter i.e. is 130.1 volt for the system designed without using mppt .Figure 17 represents the output voltage waveform of the designed model as proposed i.e the boost converter connected with pv and mppt system. From the figure the voltage is found to be 164 volt for a resistive load. Figure 18 shows the duty pulses generated as per the simulation shown in figure 12.
7. CONCLUSION

The basic function of boost converter to step up voltage from a lower fixed value to a higher value can be used for various photovoltaic standalone as well as grid connected applications. In grid system use of inverter is required to convert dc to ac. Studies shows that various researchers have designed various uique configurations of boost converter. But here in this study fundamental circuit is considered for simplicity in design and to make the system less complex. Detailed analysis of the Boost converter was done in this paper. The basic boost converter was designed as per the calculated parameters. PWM pulses are used for switching the circuit. In the proposed model using mppt control algorithm the output voltage is more then the converter design connected with PV without mppt. As mppt technique helps to track the maximum power point making the system to operate at the unique point all the time irrespective of the load and weather conditions. But in the converter without mppt can get the input voltage from PV at any other point other than mpp point. Hence the system efficiency decreases.Thus the designed converter with mppt system is found to give 99.2% efficiency.Further it is suggested that various other mppt methods can be implemented in the proposed system to get better results.
ACKNOWLEDGEMENTS 
My sincere thanks and gratitude to Electrical department, KIIT University to give me opportunity to conduct all kind of tests in software and library facility to refer good books and journals for completing my work successfully.
REFERENCES
[1] E. Figueres, G. Garcera, J. Sandia, F. Gonzalez-Espin, and J. C. Rubio,“Sensitivity study of the dynamics of three-phase photovoltaic inverters with an LCL grid filter,” IEEE Trans. Ind. Electron., vol. 56, no. 3, pp. 706–717, Mar. 2009.
[2] Q. Li and P. Wolfs, “A review of the single phase photovoltaic module integrated converter topologies with three different dc link configurations,” IEEE Trans. Power Electron., vol. 23, no. 3, pp. 1320–1333, May 2008.
[3] E. Koutroulis, K. Kalaitzakis and N. C. Voulgaris, “Development of a microcontroller based photovoltaic maximum power point tracking system,” IEEE Trans. On Power Electronics, vol. 16, no. 1, pp. 46-54, 2001.
[4] S. C. Tan, “Constant-Frequency Reduced-State Sliding Mode Current Controller for Cuk Converters,” IET Power Electronics, Vol. 1, No. 4, 2008, pp. 466-477.
[5] Saravana Selvan, Pratap Nair, Umayal Umayal, “A Review on Photo Voltaic MPPT Algorithms” International journal of Electrical and Computer engineering,IJECE, Vol 6, No 2, pp.567-582, April 2016.
[6] J. Knight, S. Shirsavar and W. Holderbaum, “An Improved Reliability Cuk Based Solar Inverter with Sliding Mode Control,” IEEE Transactions on Power Electronics, Vol. 21, No. 4, 2006, pp. 1107-1115.
[7] D. B. Costa and C. M. C. Duarte, “The ZVS-PWM Active-Clamping Cuk Converter,” IEEE Transactions on Industrial Electronics, Vol. 51, No. 1, 2004, pp. 54-60.
[8] B. R. McGee and R. M. Nelms, “Using a Cuk Converter to Interface a Pulsed Load to a Fuel Cell,” Energy Conversion Engineering Conference, 29-31 July 2004, pp. 313-318.
[9] Nur Mohammad, M. Quamruzzaman, M. R. T. Hossain, M. R. Alam, 2013, “Parasitic Effects on the Performance of SEPIC Converter in Photovoltaic Maximum Power Point Tracking Applications‖”,International Journal of Smart Grid Renewable Energy, Vol. 4, No. 1, pp. 113-121, USA.
[10] N. Femia, G. Petrone, G. Spagnuolo and M. Vitelli, “Optimizing Sampling Rate of P&O MPPT Technique,” Proceedings of IEEE Power Electronical Special Conference, Vol. 3, 2004, pp. 1945-1949.
[11] S.Daison Stallon, K.Vinoth Kumar, S.Suresh Kumar, “High Efficient Module of Boost Converter in PV Module, International Journal of Electrical and Computer Engineering, IJECE Vol 2, No 6, pp 758-765, December 2012.
[12] C.-X. Liu and L.-Q. Liu, “An Improved Perturbation and Observation MPPT Method of Photovoltaic Generate System,” 4th IEEE Conference on Industrial Electronics and Applications, 25-27 May 2009, pp. 2966-2970.
[13] Amirullah Amirullah, Agus Kiswantono, “Power Quality Enhancement of Integration Photovoltaic Generator to Grid under Variable Solar Irradiance Level using MPPT-Fuzzy”, International Journal of Electrical and Computer Engineering, IJECE,  Vol 6, No 6, pp 2629-2642,December 2016.
[14] J. H. R. Enslin, M. S. Wolf, D. B. Snyman and W. Swiegers, “Integrated photovoltaic maximum power point tracking converter,” IEEE Trans. On Industrail Electronics, vol 44, no. 6, pp. 769-773, 1997.
[15] Arjyadhara Pradhan, Dr. S.M.Ali, “Analysis of solar PV performance with change in temperature” International Journal of Applied Engineering Research ,Volume 11, Issue 7, 1 May 2016. 
[16] Arjyadhara Pradhan, S.M.Ali, S.K.S Parashar, Gaurav Banerjee“Effect of panel orientation on the performance of PV system”, Journal of  Advancement in Material Engineering, Volume 3, Issue 1 pp-1-6, May 2016.
[17] A.Pradhan, R.Bhol, S.M Ali, “Environmental effect assesment on performance of PV panel.”, IEEE International Conference on Circuit, Power and Computing Technologies, ICCPCT 2015, Kanyakumari, Tamilnadu,19 March.
[18] Arjyadhara Pradhan, Dr.S.M.Ali, Dr.S.K.S Parashar “Study of various methods for improving the performance of solar PV module” IEEE SCOPES-2016, 3-5th October at Parlekhmundi.
BIBLIOGRAPHY OF AUTHORS
	[image: image31.jpg]



	Arjyadhara Pradhan is currently working as Assistant Professor in School of Electrical Engineering, KIIT University, Bhubaneshwar, Odisha. She is continuing her Ph.D in KIIT University. She has completed her M.Tech in the area of solar pv sytem with the focus on maximum power point tracking.  She was awarded  with the "Institutional award" for best paper from Institution of Engineers, Odisha in the year 2012. Her broad working area is Solar Photovolatics and renewable energy systems. She has published 16 papers both in international and national journals. She has also published papers in 25 International and national conferences  and among them 6 nos of IEEE conference. She has guided 3 M.Tech students and 12 B.Tech students. She is a life member of various professional bodies like SESI, IE, ISTE,ISLE, ISC. 

	
	

	[image: image32.jpg]




	Dr. Bhagabat Panda is working as Associate Professor in School of Electrical Engineering, KIIT University. He has completed his Ph.D from Utkal University, Vanivihar. His M.Tech is from VSSUT Burla. His working area is power quality and Hybrid energy systems. He has published a number of papers in international journal and conferences. He has produced one Ph.D Scholar and guided 20 M.Tech students. He has one ongoing project from The Institute of Engineers, Kolkata. He has organised many National seminars in the University. He has been associated with life time members of various important bodies like IEEE, SESI, IE, ISTE. 




