Fig. 1: Fuel-cost curve for thermal generating unit with VPL

Fig. 2: Fuel-cost curve for thermal generating unit with MFO

Fig. 4. Effect of fl on search process when  fl < 1

Fig. 5. Effect of fl on search process when fl > 1

Fig. 5. characteristic curve of generation unit 8 .

Case 1

Table A-2. Generation units' limits and cost coefficients for 10-unit test system

| Unit | Min Mw | Max MW | α $/MW2 | β $/MW | γ $ | ρ $ | η MW-1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| U1 | 10 | 55 | 0.12951 | 40.5407 | 1000.403 | 33 | 0.0174 |
| U2 | 20 | 80 | 0.10908 | 39.5804 | 950.606 | 25 | 0.0178 |
| U3 | 47 | 120 | 0.12511 | 36.5104 | 900.705 | 32 | 0.0162 |
| U4 | 20 | 130 | 0.12111 | 39.5104 | 800.705 | 30 | 0.0168 |
| U5 | 50 | 160 | 0.15247 | 38.539 | 756.799 | 30 | 0.0148 |
| U6 | 70 | 240 | 0.10587 | 46.1592 | 451.325 | 20 | 0.0163 |
| U7 | 60 | 300 | 0.03546 | 38.3055 | 1243.531 | 20 | 0.0152 |
| U8 | 70 | 340 | 0.02803 | 40.3965 | 1049.998 | 30 | 0.0128 |
| U9 | 135 | 470 | 0.02111 | 36.3278 | 1658.569 | 60 | 0.0136 |
| U10 | 150 | 470 | 0.01799 | 38.2704 | 1356.659 | 40 | 0.0141 |

Case 2

Table  Generation units' limits and cost coefficients for 10-unit test system with multiple fuels

| Unit | Generation |  |  |  |  |  |  | Fuel Type | α $/MW2 | β $/MW | γ $ | ρ $ | η MW-1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Min | F1 | P1 | F2 | P2 | F3 | Max |  |  |  |  |  |  |
| 1 | 100 | 1 | 196 | 2 | 250 | - | - | 1 2 | 0.002176 0.001861 | -0.3975 -0.3059 | 26.97 21.13 | 0.02697 0.02113 | -3.9750 -3.0590 |
| 2 | 50 | 2 | 114 | 3 | 157 | 1 | 230 | 1 2 3 | 0.004194 0.001138 0.001620 | -1.2690 -0.0398 -0.1980 | 118.4 1.865 13.65 | 0.11840 0.00187 0.01365 | -12.690 -0.3988 -1.9800 |
| 3 | 200 | 1 | 332 | 3 | 388 | 2 | 500 | 1 2 3 | 0.001457 0.000012 0.000804 | -0.3116 0.4864 0.0334 | 39.79 -59.14 -2.876 | 0.03979 -0.05914 -0.00288 | -3.1160 4.8640 0.3389 |
| 4 | 99 | 1 | 138 | 2 | 200 | 3 | 265 | 1 2 3 | 0.001049 0.002758 0.005935 | -0.0311 -0.6348 -2.338 | 1.983 52.85 266.3 | 0.00198 0.05285 0.26680 | -0.3114 -6.3480 -23.380 |
| 5 | 190 | 1 | 338 | 2 | 407 | 3 | 490 | 1 2 3 | 0.001066 0.001597 0.000149 | -0.0873 -0.5206 0.4462 | 13.92 99.76 -53.99 | 0.01392 0.09976 -0.05399 | -0.8733 -5.2060 4.4620 |
| 6 | 85 | 2 | 138 | 1 | 200 | 3 | 265 | 1 2 3 | 0.002758 0.001049 0.005935 | -0.6348 -0.0311 -2.3380 | 52.85 1.983 266.3 | 0.05285 0.00198 0.26680 | -6.3480 -0.3114 -23.380 |
| 7 | 200 | 1 | 331 | 2 | 391 | 3 | 500 | 1 2 3 | 0.001107 0.001165 0.000255 | -0.1325 -0.2267 0.3559 | 18.93 43.77 -43.35 | 0.01893 0.04377 -0.04335 | -1.3250 -2.2670 3.5590 |
| 8 | 99 | 1 | 138 | 2 | 200 | 3 | 265 | 1 2 3 | 0.001049 0.002758 0.005935 | -0.0311 -0.6348 -2.3380 | 1.983 52.85 266.8 | 0.00198 0.05285 0.26680 | -0.3114 -6.3480 -23.380 |
| 9 | 130 | 3 | 213 | 1 | 370 | 3 | 440 | 1 2 3 | 0.001554 0.007033 0.000612 | -0.5675 -0.0451 -0.0182 | 88.53 15.30 14.23 | 0.08853 0.01423 0.01423 | -5.6750 -0.1817 -0.1817 |
| 10 | 200 | 1 | 362 | 3 | 407 | 2 | 490 | 1 2 3 | 0.001102 0.000042 0.001137 | -0.0994 0.5084 -0.2024 | 13.97 -61.13 46.71 | 0.01397 -0.06113 0.04671 | -0.9938 5.0840 -2.0240 |